## Appliance Master (Zim)
Appliance | Category | PP | EP | Concurrency | Night Use | Smart Load | Watts | Eff PP | Eff EP | Zim Adj PP | Zim Adj EP | Overnight Wh | Engineering Note
▸ LIGHTING
LED Light | Lighting | 0.1 | 0.15 | 0.8 | 1 | No | 10 | 0.08 | 0.15 | 0.07 | 0.12 | 75 | 10W, 5hrs night use, 50Wh overnight
Lights Group (5-10) | Lighting | 0.5 | 1 | 0.7 | 0.85 | No | 80 | 0.35 | 0.85 | 0.3 | 0.7 | 425 | 80W group, 400Wh overnight. KEY REDUCTION from EP=3→1.0
Lights Group (10-20) | Lighting | 1 | 2 | 0.7 | 0.85 | No | 160 | 0.7 | 1.7 | 0.59 | 1.39 | 850 | 160W, 800Wh overnight
Security Lights (2-4) | Lighting | 0.5 | 2.5 | 0.6 | 0.9 | No | 100 | 0.3 | 2.25 | 0.26 | 1.84 | 1125 | 100W, dusk-to-dawn ~10hrs, 1000Wh overnight
Security Lights (5-8) | Lighting | 1 | 4.5 | 0.6 | 0.9 | No | 200 | 0.6 | 4.05 | 0.51 | 3.32 | 2025 | 200W, dusk-to-dawn, 1800Wh overnight
▸ ENTERTAINMENT
TV (Small/Medium) | Entertainment | 0.5 | 0.7 | 0.6 | 0.65 | No | 80 | 0.3 | 0.455 | 0.26 | 0.37 | 228 | 80W, 3.5hrs evening = 280Wh. REDUCED from EP=2→0.7
TV (Large) | Entertainment | 0.7 | 1 | 0.6 | 0.65 | No | 120 | 0.42 | 0.65 | 0.36 | 0.53 | 325 | 120W, 3.5hrs evening = 420Wh
Home Theatre | Entertainment | 1 | 1 | 0.4 | 0.5 | No | 200 | 0.4 | 0.5 | 0.34 | 0.41 | 250 | 200W, 2hrs evening use
Decoder / DStv Box | Entertainment | 0.15 | 0.3 | 0.8 | 0.65 | No | 30 | 0.12 | 0.195 | 0.1 | 0.16 | 98 | 30W, follows TV usage. REDUCED from EP=1→0.3
Gaming Console | Entertainment | 1 | 0.7 | 0.5 | 0.55 | No | 200 | 0.5 | 0.385 | 0.42 | 0.32 | 192 | 200W, 2-3hrs evening
Projector | Entertainment | 1.5 | 0.8 | 0.3 | 0.45 | No | 300 | 0.45 | 0.36 | 0.38 | 0.3 | 180 | 300W, occasional 2-3hr sessions
Sound Bar | Entertainment | 0.3 | 0.3 | 0.5 | 0.6 | No | 50 | 0.15 | 0.18 | 0.13 | 0.15 | 90 | 50W, follows TV
▸ CONNECTIVITY
WiFi Router | Connectivity | 0.1 | 0.4 | 1 | 1 | No | 12 | 0.1 | 0.4 | 0.09 | 0.33 | 200 | 12W continuous, 156Wh overnight. CRITICAL FIX from EP=2→0.4
Internet Modem / Fibre | Connectivity | 0.1 | 0.3 | 1 | 1 | No | 10 | 0.1 | 0.3 | 0.09 | 0.25 | 150 | 10W continuous, 130Wh overnight
▸ COMPUTING
Laptop | Computing | 0.4 | 0.3 | 0.5 | 0.3 | No | 65 | 0.2 | 0.09 | 0.17 | 0.07 | 45 | 65W, 2hrs evening = 130Wh. REDUCED from EP=1→0.3
Desktop Computer | Computing | 1.5 | 2.2 | 0.5 | 0.3 | No | 300 | 0.75 | 0.66 | 0.64 | 0.54 | 330 | 300W, 3hrs evening = 900Wh
Monitor Only | Computing | 0.3 | 0.2 | 0.6 | 0.4 | No | 40 | 0.18 | 0.08 | 0.15 | 0.07 | 40 | 40W, follows computer use
Phone Chargers | Computing | 0.1 | 0.2 | 0.7 | 0.6 | No | 25 | 0.07 | 0.12 | 0.06 | 0.1 | 60 | 25W, 75Wh overnight. REDUCED from EP=1→0.2
Tablet Charging | Computing | 0.1 | 0.15 | 0.5 | 0.7 | No | 15 | 0.05 | 0.105 | 0.04 | 0.09 | 52 | 15W, similar to phone
▸ COLD CHAIN
Fridge | Cold Chain | 1.5 | 2.1 | 0.45 | 0.5 | No | 150 | 0.675 | 1.05 | 0.57 | 0.86 | 525 | 150W nameplate, 65W avg cycling, 845Wh overnight. Surge 3x. REDUCED EP=3→2.1
Large Fridge | Cold Chain | 2 | 2.8 | 0.45 | 0.5 | No | 200 | 0.9 | 1.4 | 0.77 | 1.15 | 700 | 200W nameplate, 85W avg, 1105Wh overnight
Deep Freezer | Cold Chain | 1.5 | 2.6 | 0.35 | 0.5 | No | 200 | 0.525 | 1.3 | 0.45 | 1.07 | 650 | 200W nameplate, 80W avg, 1040Wh overnight. REDUCED EP=3→2.6
Under-counter Fridge | Cold Chain | 0.8 | 1.4 | 0.5 | 0.5 | No | 100 | 0.4 | 0.7 | 0.34 | 0.57 | 350 | 100W, 45W avg cycling
Bar Fridge | Cold Chain | 0.6 | 1.2 | 0.5 | 0.5 | No | 80 | 0.3 | 0.6 | 0.26 | 0.49 | 300 | 80W nameplate, 35W avg
Ice Maker | Cold Chain | 1 | 1 | 0.4 | 0.3 | No | 200 | 0.4 | 0.3 | 0.34 | 0.25 | 150 | 200W, intermittent, mostly daytime use
▸ KITCHEN
Microwave | Kitchen | 4 | 0.25 | 0.18 | 0.2 | No | 1200 | 0.72 | 0.05 | 0.61 | 0.04 | 25 | 1200W, 5min evening max = 100Wh. REDUCED EP=1→0.25
Kettle | Kitchen | 5 | 0.15 | 0.1 | 0.1 | No | 2000 | 0.5 | 0.015 | 0.42 | 0.01 | 8 | 2000W, 2-3min evening = 60Wh. REDUCED EP=1→0.15
Toaster | Kitchen | 2.5 | 0.1 | 0.1 | 0.05 | No | 800 | 0.25 | 0.005 | 0.21 | 0 | 2 | 800W, 3min morning only
Electric Frying Pan | Kitchen | 4 | 0.5 | 0.15 | 0.15 | No | 1500 | 0.6 | 0.075 | 0.51 | 0.06 | 38 | 1500W, 20min evening cooking = 500Wh
Blender | Kitchen | 1.5 | 0.1 | 0.1 | 0.05 | No | 500 | 0.15 | 0.005 | 0.13 | 0 | 2 | 500W, 2-3min bursts
Coffee Machine | Kitchen | 2.5 | 0.2 | 0.15 | 0.05 | No | 1000 | 0.375 | 0.01 | 0.32 | 0.01 | 5 | 1000W, 5min morning
Air Fryer | Kitchen | 4 | 0.5 | 0.15 | 0.15 | No | 1500 | 0.6 | 0.075 | 0.51 | 0.06 | 38 | 1500W, 20min use
Rice Cooker | Kitchen | 1.5 | 0.3 | 0.3 | 0.3 | No | 500 | 0.45 | 0.09 | 0.38 | 0.07 | 45 | 500W, 30min cooking sessions
Slow Cooker | Kitchen | 1 | 0.8 | 0.3 | 0.4 | No | 200 | 0.3 | 0.32 | 0.26 | 0.26 | 160 | 200W, long 4-6hr sessions
Sandwich Maker | Kitchen | 1.5 | 0.1 | 0.1 | 0.05 | No | 700 | 0.15 | 0.005 | 0.13 | 0 | 2 | 700W, brief morning use
Water Dispenser | Kitchen | 0.5 | 0.4 | 0.4 | 0.4 | No | 100 | 0.2 | 0.16 | 0.17 | 0.13 | 80 | 100W, intermittent heating cycles
▸ HEAVY KITCHEN
Electric Stove Plate | Heavy Kitchen | 8 | 1.5 | 0.2 | 0.1 | No | 2000 | 1.6 | 0.15 | 1.36 | 0.12 | 75 | 2000W, 30-45min cooking, mostly daytime/early evening
Electric Oven | Heavy Kitchen | 10 | 2 | 0.15 | 0.1 | No | 3000 | 1.5 | 0.2 | 1.27 | 0.16 | 100 | 3000W, 40-60min sessions, mostly daytime
Four-Plate Stove + Oven | Heavy Kitchen | 12 | 3 | 0.2 | 0.1 | No | 5000 | 2.4 | 0.3 | 2.04 | 0.25 | 150 | 5000W combined, heavy cooking load
Cooker Hood | Heavy Kitchen | 0.3 | 0.1 | 0.3 | 0.2 | No | 50 | 0.09 | 0.02 | 0.08 | 0.02 | 10 | 50W, follows cooking
Dishwasher | Heavy Kitchen | 3 | 0.8 | 0.2 | 0.08 | Yes | 1800 | 0.6 | 0.064 | 0.51 | 0.05 | 32 | 1800W, 1hr cycle, mostly daytime. Smart load eligible
▸ LAUNDRY
Washing Machine | Laundry | 2.5 | 0.3 | 0.25 | 0.1 | Yes | 500 | 0.625 | 0.03 | 0.53 | 0.02 | 15 | 500W, 1hr daytime use. Smart load. REDUCED EP=2→0.3
Tumble Dryer | Laundry | 7 | 1.5 | 0.15 | 0.05 | Yes | 3000 | 1.05 | 0.075 | 0.89 | 0.06 | 38 | 3000W, 1hr cycle, daytime only. Smart load
Iron | Laundry | 4 | 0.5 | 0.15 | 0.1 | No | 2000 | 0.6 | 0.05 | 0.51 | 0.04 | 25 | 2000W, 15-30min mostly daytime. REDUCED EP=2→0.5
Hair Dryer | Laundry | 4 | 0.2 | 0.1 | 0.05 | No | 1800 | 0.4 | 0.01 | 0.34 | 0.01 | 5 | 1800W, 5-10min morning use
▸ WATER
Borehole Pump | Water | 6 | 0.1 | 0.2 | 0.03 | Yes | 1500 | 1.2 | 0.003 | 1.02 | 0 | 2 | 1500W, 5x surge, daytime only. CRITICAL FIX EP=2→0.1. Smart load
Booster Pump (Small) | Water | 2.5 | 0.3 | 0.3 | 0.15 | Yes | 750 | 0.75 | 0.045 | 0.64 | 0.04 | 22 | 750W, intermittent on demand, mostly daytime
Booster Pump (Large) | Water | 3.5 | 0.4 | 0.3 | 0.15 | Yes | 1000 | 1.05 | 0.06 | 0.89 | 0.05 | 30 | 1000W, intermittent
Pressure Pump | Water | 3 | 0.3 | 0.3 | 0.15 | Yes | 750 | 0.9 | 0.045 | 0.77 | 0.04 | 22 | 750W, intermittent, smart manageable
Pool Pump | Water | 3 | 0.2 | 0.15 | 0.03 | Yes | 1100 | 0.45 | 0.006 | 0.38 | 0 | 3 | 1100W, 4-6hrs daytime only. Smart load
Garden Irrigation | Water | 0.5 | 0.1 | 0.2 | 0.05 | Yes | 50 | 0.1 | 0.005 | 0.09 | 0 | 2 | 50W controller, daytime
Fountain Pump | Water | 0.5 | 0.3 | 0.4 | 0.3 | Yes | 100 | 0.2 | 0.09 | 0.17 | 0.07 | 45 | 100W, decorative, some evening use
Filtration System | Water | 2 | 0.3 | 0.2 | 0.1 | Yes | 500 | 0.4 | 0.03 | 0.34 | 0.02 | 15 | 500W, intermittent, linked to pump operation
Water Purifier | Water | 0.3 | 0.2 | 0.3 | 0.2 | No | 50 | 0.09 | 0.04 | 0.08 | 0.03 | 20 | 50W, intermittent on-demand
▸ CLIMATE
AC 9000 BTU | Climate | 5 | 4.5 | 0.4 | 0.5 | Yes | 900 | 2 | 2.25 | 1.7 | 1.84 | 1125 | 900W, inverter AC ~600W avg, 5hrs night at 60% duty = 1800Wh
AC 12000 BTU | Climate | 6 | 5.5 | 0.4 | 0.5 | Yes | 1200 | 2.4 | 2.75 | 2.04 | 2.25 | 1375 | 1200W, 800W avg, extended night use
AC 18000 BTU | Climate | 8 | 8 | 0.4 | 0.5 | Yes | 1800 | 3.2 | 4 | 2.72 | 3.28 | 2000 | 1800W, 1200W avg, extended night. This IS genuinely heavy on battery
Ceiling Fan | Climate | 0.4 | 0.7 | 0.7 | 0.6 | No | 75 | 0.28 | 0.42 | 0.24 | 0.34 | 210 | 75W, runs 8hrs, 5hrs night = 375Wh
Pedestal Fan | Climate | 0.3 | 0.6 | 0.7 | 0.6 | No | 55 | 0.21 | 0.36 | 0.18 | 0.3 | 180 | 55W, similar to ceiling fan
Exhaust Fan | Climate | 0.3 | 0.2 | 0.4 | 0.3 | No | 40 | 0.12 | 0.06 | 0.1 | 0.05 | 30 | 40W, intermittent, mostly daytime
Electric Heater | Climate | 7 | 10 | 0.3 | 0.65 | No | 2000 | 2.1 | 6.5 | 1.78 | 5.33 | 3250 | 2000W, 5hrs night use in winter. Genuinely massive battery drain. NOT recommended for solar
Oil Heater | Climate | 5 | 8 | 0.4 | 0.8 | No | 1500 | 2 | 6.4 | 1.7 | 5.25 | 3200 | 1500W, similar to electric heater
Electric Blanket | Climate | 0.5 | 0.8 | 0.6 | 0.8 | No | 100 | 0.3 | 0.64 | 0.26 | 0.52 | 320 | 100W, 8hrs night = 800Wh
Evaporative Cooler | Climate | 1 | 1.5 | 0.5 | 0.5 | No | 200 | 0.5 | 0.75 | 0.42 | 0.61 | 375 | 200W, 4-6hrs
▸ HOT WATER
Geyser (Electric) | Hot Water | 10 | 2 | 0.2 | 0.1 | Yes | 3000 | 2 | 0.2 | 1.7 | 0.16 | 100 | 3000W, smart-timed to solar hours. Minimal night use. REDUCED EP=7→2.0
Solar Geyser Booster | Hot Water | 0.5 | 0.2 | 0.6 | 0.4 | No | 100 | 0.3 | 0.08 | 0.26 | 0.07 | 40 | 100W circulation pump, intermittent
▸ SECURITY
CCTV System | Security | 0.3 | 1.6 | 1 | 1 | No | 50 | 0.3 | 1.6 | 0.26 | 1.31 | 800 | 50W 24/7, 650Wh overnight. REDUCED from EP=2→1.6
Alarm System | Security | 0.2 | 1 | 1 | 1 | No | 30 | 0.2 | 1 | 0.17 | 0.82 | 500 | 30W 24/7, 390Wh overnight. KEPT similar
Gate Motor | Security | 3 | 0.05 | 0.08 | 0.08 | No | 500 | 0.24 | 0.004 | 0.2 | 0 | 2 | 500W burst, 30sec per cycle. PP high for surge, EP minimal
Garage Door Motor | Security | 3 | 0.05 | 0.08 | 0.08 | No | 500 | 0.24 | 0.004 | 0.2 | 0 | 2 | Same as gate motor
Electric Fence | Security | 0.2 | 1 | 1 | 1 | No | 30 | 0.2 | 1 | 0.17 | 0.82 | 500 | 30W pulsed 24/7, ~390Wh overnight
Intercom System | Security | 0.1 | 0.15 | 0.5 | 0.4 | No | 15 | 0.05 | 0.06 | 0.04 | 0.05 | 30 | 15W standby
▸ OFFICE
Printer (Small) | Office | 1 | 0.1 | 0.2 | 0.1 | No | 300 | 0.2 | 0.01 | 0.17 | 0.01 | 5 | 300W burst, 5-10 min/day
Printer (Large) | Office | 2 | 0.15 | 0.15 | 0.1 | No | 600 | 0.3 | 0.015 | 0.26 | 0.01 | 8 | 600W burst, intermittent
Photocopier | Office | 3 | 0.2 | 0.15 | 0.1 | No | 1500 | 0.45 | 0.02 | 0.38 | 0.02 | 10 | 1500W burst, very intermittent
Server / NAS | Office | 1.5 | 8 | 1 | 1 | No | 300 | 1.5 | 8 | 1.27 | 6.56 | 4000 | 300W 24/7, genuinely heavy battery load. 3900Wh overnight
NAS Storage (Small) | Office | 0.5 | 2.5 | 1 | 1 | No | 80 | 0.5 | 2.5 | 0.42 | 2.05 | 1250 | 80W 24/7, 1040Wh overnight
POS System | Office | 0.5 | 0.8 | 0.8 | 0.5 | No | 100 | 0.4 | 0.4 | 0.34 | 0.33 | 200 | 100W, business hours + some evening
Shop Display Fridge | Office | 1.5 | 2 | 0.6 | 0.6 | No | 200 | 0.9 | 1.2 | 0.77 | 0.98 | 600 | 200W, 85W avg cycling, similar to domestic fridge
Sewing Machine | Office | 0.5 | 0.2 | 0.3 | 0.2 | No | 100 | 0.15 | 0.04 | 0.13 | 0.03 | 20 | 100W, intermittent
▸ WORKSHOP
Workshop Tools (Small) | Workshop | 2 | 0.2 | 0.2 | 0.1 | No | 800 | 0.4 | 0.02 | 0.34 | 0.02 | 10 | 800W, daytime bursts
Angle Grinder | Workshop | 4 | 0.15 | 0.15 | 0.05 | No | 2000 | 0.6 | 0.007 | 0.51 | 0.01 | 4 | 2000W, very short daytime bursts
Drill | Workshop | 1.5 | 0.1 | 0.15 | 0.05 | No | 600 | 0.225 | 0.005 | 0.19 | 0 | 2 | 600W, short bursts
Compressor (Small) | Workshop | 3.5 | 0.3 | 0.15 | 0.05 | No | 1500 | 0.525 | 0.015 | 0.45 | 0.01 | 8 | 1500W, intermittent with surge
Welder (Small Inverter) | Workshop | 10 | 0.3 | 0.1 | 0.05 | No | 5000 | 1 | 0.015 | 0.85 | 0.01 | 8 | 5000W, rare use, massive surge
▸ MEDICAL
CPAP Machine | Medical | 0.3 | 1.3 | 1 | 1 | No | 40 | 0.3 | 1.3 | 0.26 | 1.07 | 650 | 40W, 8hrs nightly = 320Wh. Critical load
Nebulizer | Medical | 0.5 | 0.1 | 0.2 | 0.2 | No | 100 | 0.1 | 0.02 | 0.09 | 0.02 | 10 | 100W, brief sessions
Medical Fridge | Medical | 1 | 2 | 1 | 1 | No | 60 | 1 | 2 | 0.85 | 1.64 | 1000 | 60W 24/7, critical load, 780Wh overnight
Baby Bottle Warmer | Medical | 0.5 | 0.15 | 0.3 | 0.4 | No | 200 | 0.15 | 0.06 | 0.13 | 0.05 | 30 | 200W, brief heating cycles
▸ SPECIALTY
Aquarium Pump | Specialty | 0.2 | 0.8 | 1 | 1 | No | 25 | 0.2 | 0.8 | 0.17 | 0.66 | 400 | 25W 24/7, 325Wh overnight
Aquarium Heater | Specialty | 0.5 | 1 | 0.6 | 0.8 | No | 100 | 0.3 | 0.8 | 0.26 | 0.66 | 400 | 100W, thermostat cycling, more night use in winter
Router + CCTV Combo | Security | 0.4 | 2 | 1 | 1 | No | 60 | 0.4 | 2 | 0.34 | 1.64 | 1000 | 60W 24/7 combined, 780Wh overnight
Outdoor Decorative Lights | Lighting | 0.3 | 0.8 | 0.4 | 1 | Yes | 50 | 0.12 | 0.8 | 0.1 | 0.66 | 400 | 50W, evening/night only

## Package Matrix
Code | Package Name | Family | Inverter kVA | Brand | Phase | Smart Load | Battery kWh | Battery Type | Batteries | Panels | Panel W | Array kWp | PP Min | PP Max | EP Min | EP Max | Recharge | Comfort | Mgmt Tolerance
HE-1 | Home Economy | Home Economy | 3 | Must | 1P | No | 2.4 | 24V 100Ah | 1 | 4 | 450 | 1.8 | 0 | 3.5 | 0 | 3.5 | Basic | Budget | High
HL-1 | Home Luxury 1.0 | Home Luxury | 5 | Growatt | 1P | No | 5.1 | 51V 100Ah | 1 | 4 | 620 | 2.48 | 1.5 | 5 | 2 | 5 | Basic | Budget | High
HL-2 | Home Luxury 1.1 | Home Luxury | 5 | Growatt | 1P | No | 5.1 | 51V 100Ah | 1 | 6 | 620 | 3.72 | 2 | 5.5 | 2.5 | 5.5 | Moderate | Balanced | High
HL-3 | Home Luxury 1.2 | Home Luxury | 5 | Growatt | 1P | No | 10.2 | 51V 100Ah | 2 | 8 | 620 | 4.96 | 3.5 | 6.5 | 4.5 | 8.5 | Balanced | Balanced | Medium
HL-4 | Home Luxury 2.0 | Home Luxury | 5 | Sunsynk | 1P | Yes | 5.1 | 51V 100Ah | 1 | 6 | 620 | 3.72 | 1.5 | 6 | 2 | 5.5 | Moderate | Balanced | Medium
HL-5 | Home Luxury 2.1 | Home Luxury | 5 | Sunsynk | 1P | Yes | 10.2 | 51V 100Ah | 2 | 8 | 620 | 4.96 | 3.5 | 7 | 4 | 9 | Balanced | Balanced | Medium
HL-6 | Home Luxury Performance | Home Luxury | 5 | Sunsynk | 1P | Yes | 14.3 | 51V 280Ah | 1 | 10 | 620 | 6.2 | 4 | 7.5 | 6 | 11 | Strong | Premium | Low
HD-1 | Home Deluxe 2.0 | Home Deluxe | 8 | Sunsynk | 1P | Yes | 10.2 | 51V 200Ah | 1 | 10 | 620 | 6.2 | 5.5 | 9 | 5 | 9 | Balanced | Balanced | Medium
HD-2 | Home Deluxe 2.1 | Home Deluxe | 8 | Sunsynk | 1P | Yes | 14.3 | 51V 280Ah | 1 | 12 | 620 | 7.44 | 6 | 10 | 7 | 12 | Strong | Balanced | Medium
HD-3 | Home Deluxe 2.2 | Home Deluxe | 8 | Sunsynk | 1P | Yes | 20.4 | 51V 200Ah | 2 | 14 | 620 | 8.68 | 7 | 11 | 9 | 15 | Strong | Premium | Low
HD-4 | Home Deluxe Performance | Home Deluxe | 8 | Sunsynk | 1P | Yes | 28.6 | 51V 280Ah | 2 | 16 | 620 | 9.92 | 8 | 11.5 | 12 | 20 | Premium | Premium | Low
UP-1 | Ultra Power 2.0 | Ultra Power | 10 | Sunsynk | 1P | Yes | 14.3 | 51V 280Ah | 1 | 14 | 620 | 8.68 | 8.5 | 13 | 7 | 12 | Strong | Balanced | Medium
UP-2 | Ultra Power 2.1 | Ultra Power | 10 | Sunsynk | 1P | Yes | 20.4 | 51V 200Ah | 2 | 16 | 620 | 9.92 | 9.5 | 14 | 10 | 16 | Strong | Premium | Low
UP-3 | Ultra Power Performance | Ultra Power | 10 | Sunsynk | 1P | Yes | 28.6 | 51V 280Ah | 2 | 21 | 620 | 13.02 | 10 | 14.5 | 14 | 22 | Premium | Premium | Low
PP-1 | Premium Power 1.0 | Premium Power | 12 | Sunsynk | 1P | Yes | 14.3 | 51V 280Ah | 1 | 14 | 620 | 8.68 | 11 | 16 | 7 | 12 | Balanced | Budget | High
PP-2 | Premium Power 1.1 | Premium Power | 12 | Sunsynk | 1P | Yes | 20.4 | 51V 200Ah | 2 | 18 | 620 | 11.16 | 12 | 17 | 12 | 18 | Strong | Balanced | Medium
PP-3 | Premium Power 1 Perf | Premium Power | 12 | Sunsynk | 1P | Yes | 28.6 | 51V 280Ah | 2 | 24 | 620 | 14.88 | 13 | 18 | 16 | 24 | Premium | Premium | Low
PP-4 | Premium Power 2.0 | Premium Power | 12 | Sunsynk | 3P | Yes | 14.3 | 51V 280Ah | 1 | 14 | 620 | 8.68 | 11 | 16 | 7 | 12 | Balanced | Budget | High
PP-5 | Premium Power 2.1 | Premium Power | 12 | Sunsynk | 3P | Yes | 20.4 | 51V 200Ah | 2 | 18 | 620 | 11.16 | 12 | 17 | 12 | 18 | Strong | Balanced | Medium
PP-6 | Premium Power 2 Perf | Premium Power | 12 | Sunsynk | 3P | Yes | 28.6 | 51V 280Ah | 2 | 24 | 620 | 14.88 | 13 | 18 | 16 | 24 | Premium | Premium | Low
PRO-1 | Pro Power 1.0 | Pro Power | 16 | Sunsynk | 1P | Yes | 20.4 | 51V 200Ah | 2 | 18 | 620 | 11.16 | 15 | 21 | 12 | 18 | Balanced | Balanced | Medium
PRO-2 | Pro Power 1.1 | Pro Power | 16 | Sunsynk | 1P | Yes | 28.6 | 51V 280Ah | 2 | 21 | 620 | 13.02 | 16 | 22 | 16 | 24 | Strong | Balanced | Medium
PRO-3 | Pro Power 1.2 | Pro Power | 16 | Sunsynk | 1P | Yes | 40.8 | 51V 200Ah | 4 | 27 | 620 | 16.74 | 18 | 25 | 20 | 32 | Strong | Premium | Low
PRO-4 | Pro Power Performance | Pro Power | 16 | Sunsynk | 1P | Yes | 57.2 | 51V 280Ah | 4 | 30 | 620 | 18.6 | 19 | 26 | 26 | 40 | Premium | Premium | Low
MP-1 | Master Power 1.0 | Master Power | 20 | Sunsynk | 1P | Yes | 28.6 | 51V 280Ah | 2 | 24 | 620 | 14.88 | 20 | 30 | 16 | 24 | Balanced | Balanced | Medium
MP-2 | Master Power 1.2 | Master Power | 20 | Sunsynk | 1P | Yes | 40.8 | 51V 200Ah | 4 | 32 | 620 | 19.84 | 22 | 34 | 22 | 34 | Strong | Balanced | Medium
MP-3 | Master Power 1.3 | Master Power | 20 | Sunsynk | 1P | Yes | 57.2 | 51V 280Ah | 4 | 40 | 620 | 24.8 | 24 | 38 | 30 | 44 | Premium | Premium | Low
MP-4 | Master Power Performance | Master Power | 20 | Sunsynk | 1P | Yes | 85.8 | 51V 280Ah | 6 | 52 | 620 | 32.24 | 28 | 45 | 40 | 65 | Premium | Premium | Low

## Test Scenarios (Zim)
S1: Essential Backup |  |  |  | Expected: HE-1
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
LED Light | 4 | 0.1 | 0.15 | 0.8 | 1 | 0.32 | 0.6 | 0.27 | 0.49
TV (Small/Medium) | 1 | 0.5 | 0.7 | 0.6 | 0.65 | 0.3 | 0.46 | 0.26 | 0.37
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
Decoder / DStv Box | 1 | 0.15 | 0.3 | 0.8 | 0.65 | 0.12 | 0.2 | 0.1 | 0.16
TOTALS (Zim Adjusted) | [5 empty] | 0.91 | 1.77 | 0.77 | 1.45
✅ Matches: HE-1 (3kVA, 2.4kWh)
→ Budget: HE-1 (Home Economy) ¦ Good Fit: HE-1 (Home Economy)
S2: Basic Home |  |  |  | Expected: HE-1 Budget
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 1 | 0.5 | 1 | 0.7 | 0.85 | 0.35 | 0.85 | 0.3 | 0.7
TV (Small/Medium) | 1 | 0.5 | 0.7 | 0.6 | 0.65 | 0.3 | 0.46 | 0.26 | 0.37
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
Decoder / DStv Box | 1 | 0.15 | 0.3 | 0.8 | 0.65 | 0.12 | 0.2 | 0.1 | 0.16
TOTALS (Zim Adjusted) | [5 empty] | 1.61 | 3.07 | 1.37 | 2.52
✅ Matches: HE-1 (3kVA, 2.4kWh)
→ Budget: HE-1 (Home Economy) ¦ Good Fit: HE-1 (Home Economy)
S3: Standard Home |  |  |  | Expected: HL-1/HL-2/HL-4
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 1 | 0.5 | 1 | 0.7 | 0.85 | 0.35 | 0.85 | 0.3 | 0.7
TV (Small/Medium) | 2 | 0.5 | 0.7 | 0.6 | 0.65 | 0.6 | 0.91 | 0.51 | 0.75
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Deep Freezer | 1 | 1.5 | 2.6 | 0.35 | 0.5 | 0.53 | 1.3 | 0.45 | 1.07
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
Decoder / DStv Box | 1 | 0.15 | 0.3 | 0.8 | 0.65 | 0.12 | 0.2 | 0.1 | 0.16
Laptop | 1 | 0.4 | 0.3 | 0.5 | 0.3 | 0.2 | 0.09 | 0.17 | 0.07
TOTALS (Zim Adjusted) | [5 empty] | 3.86 | 4.98 | 3.28 | 4.08
✅ Matches: HL-1 (5kVA, 5.1kWh), HL-2 (5kVA, 5.1kWh), HL-4 (5kVA, 5.1kWh)
→ Budget: HL-1 (Home Luxury 1.0) ¦ Good Fit: HL-2 (Home Luxury 1.1) ¦ Excellent: HL-4 (Home Luxury 2.0)
S4: Comfortable + Pumps |  |  |  | Expected: HL-1/HL-2/HL-4
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 2 | 0.5 | 1 | 0.7 | 0.85 | 0.7 | 1.7 | 0.59 | 1.39
TV (Small/Medium) | 2 | 0.5 | 0.7 | 0.6 | 0.65 | 0.6 | 0.91 | 0.51 | 0.75
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
Booster Pump (Small) | 1 | 2.5 | 0.3 | 0.3 | 0.15 | 0.75 | 0.04 | 0.64 | 0.04
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
TOTALS (Zim Adjusted) | [5 empty] | 4.99 | 4.16 | 4.24 | 3.41
✅ Matches: HL-1 (5kVA, 5.1kWh), HL-2 (5kVA, 5.1kWh), HL-4 (5kVA, 5.1kWh)
→ Budget: HL-1 (Home Luxury 1.0) ¦ Good Fit: HL-2 (Home Luxury 1.1) ¦ Excellent: HL-4 (Home Luxury 2.0)
S5: Large Family |  |  |  | Expected: HL-6/HD-2
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 2 | 0.5 | 1 | 0.7 | 0.85 | 0.7 | 1.7 | 0.59 | 1.39
Security Lights (2-4) | 1 | 0.5 | 2.5 | 0.6 | 0.9 | 0.3 | 2.25 | 0.26 | 1.84
TV (Small/Medium) | 2 | 0.5 | 0.7 | 0.6 | 0.65 | 0.6 | 0.91 | 0.51 | 0.75
Home Theatre | 1 | 1 | 1 | 0.4 | 0.5 | 0.4 | 0.5 | 0.34 | 0.41
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Deep Freezer | 1 | 1.5 | 2.6 | 0.35 | 0.5 | 0.53 | 1.3 | 0.45 | 1.07
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Washing Machine | 1 | 2.5 | 0.3 | 0.25 | 0.1 | 0.62 | 0.03 | 0.53 | 0.02
Iron | 1 | 4 | 0.5 | 0.15 | 0.1 | 0.6 | 0.05 | 0.51 | 0.04
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
CCTV System | 1 | 0.3 | 1.6 | 1 | 1 | 0.3 | 1.6 | 0.26 | 1.31
Alarm System | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Electric Fence | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
TOTALS (Zim Adjusted) | [5 empty] | 7.96 | 11.98 | 6.76 | 9.83
✅ Matches: HL-6 (5kVA, 14.3kWh), HD-2 (8kVA, 14.3kWh)
→ Budget: HL-6 (Home Luxury Performance) ¦ Good Fit: HD-2 (Home Deluxe 2.1)
S6: Premium + AC |  |  |  | Expected: HD-3/HD-4
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 3 | 0.5 | 1 | 0.7 | 0.85 | 1.05 | 2.55 | 0.89 | 2.09
Security Lights (2-4) | 1 | 0.5 | 2.5 | 0.6 | 0.9 | 0.3 | 2.25 | 0.26 | 1.84
TV (Small/Medium) | 3 | 0.5 | 0.7 | 0.6 | 0.65 | 0.9 | 1.36 | 0.77 | 1.12
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Deep Freezer | 1 | 1.5 | 2.6 | 0.35 | 0.5 | 0.53 | 1.3 | 0.45 | 1.07
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Washing Machine | 1 | 2.5 | 0.3 | 0.25 | 0.1 | 0.62 | 0.03 | 0.53 | 0.02
AC 9000 BTU | 1 | 5 | 4.5 | 0.4 | 0.5 | 2 | 2.25 | 1.7 | 1.84
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
Pool Pump | 1 | 3 | 0.2 | 0.15 | 0.03 | 0.45 | 0.01 | 0.38 | 0
CCTV System | 1 | 0.3 | 1.6 | 1 | 1 | 0.3 | 1.6 | 0.26 | 1.31
Alarm System | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Electric Fence | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
TOTALS (Zim Adjusted) | [5 empty] | 10.05 | 14.99 | 8.55 | 12.29
✅ Matches: HD-3 (8kVA, 20.4kWh), HD-4 (8kVA, 28.6kWh)
→ Budget: HD-3 (Home Deluxe 2.2) ¦ Good Fit: HD-4 (Home Deluxe Performance)
S7: Heavy + Geyser |  |  |  | Expected: HD-3/UP-2
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (5-10) | 3 | 0.5 | 1 | 0.7 | 0.85 | 1.05 | 2.55 | 0.89 | 2.09
Security Lights (2-4) | 1 | 0.5 | 2.5 | 0.6 | 0.9 | 0.3 | 2.25 | 0.26 | 1.84
TV (Small/Medium) | 3 | 0.5 | 0.7 | 0.6 | 0.65 | 0.9 | 1.36 | 0.77 | 1.12
Home Theatre | 1 | 1 | 1 | 0.4 | 0.5 | 0.4 | 0.5 | 0.34 | 0.41
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Deep Freezer | 1 | 1.5 | 2.6 | 0.35 | 0.5 | 0.53 | 1.3 | 0.45 | 1.07
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Washing Machine | 1 | 2.5 | 0.3 | 0.25 | 0.1 | 0.62 | 0.03 | 0.53 | 0.02
Iron | 1 | 4 | 0.5 | 0.15 | 0.1 | 0.6 | 0.05 | 0.51 | 0.04
Geyser (Electric) | 1 | 10 | 2 | 0.2 | 0.1 | 2 | 0.2 | 1.7 | 0.16
AC 9000 BTU | 1 | 5 | 4.5 | 0.4 | 0.5 | 2 | 2.25 | 1.7 | 1.84
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
CCTV System | 1 | 0.3 | 1.6 | 1 | 1 | 0.3 | 1.6 | 0.26 | 1.31
Alarm System | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Electric Fence | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
Laptop | 1 | 0.4 | 0.3 | 0.5 | 0.3 | 0.2 | 0.09 | 0.17 | 0.07
TOTALS (Zim Adjusted) | [5 empty] | 12.8 | 15.83 | 10.88 | 12.98
✅ Matches: HD-3 (8kVA, 20.4kWh), HD-4 (8kVA, 28.6kWh), UP-2 (10kVA, 20.4kWh)
→ Budget: HD-3 (Home Deluxe 2.2) ¦ Good Fit: HD-4 (Home Deluxe Performance) ¦ Excellent: UP-2 (Ultra Power 2.1)
S8: Luxury Estate |  |  |  | Expected: PP-3/PRO-2
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (10-20) | 2 | 1 | 2 | 0.7 | 0.85 | 1.4 | 3.4 | 1.19 | 2.79
Security Lights (5-8) | 1 | 1 | 4.5 | 0.6 | 0.9 | 0.6 | 4.05 | 0.51 | 3.32
TV (Large) | 3 | 0.7 | 1 | 0.6 | 0.65 | 1.26 | 1.95 | 1.07 | 1.6
Home Theatre | 1 | 1 | 1 | 0.4 | 0.5 | 0.4 | 0.5 | 0.34 | 0.41
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 1 | 1.5 | 2.1 | 0.45 | 0.5 | 0.68 | 1.05 | 0.57 | 0.86
Large Fridge | 1 | 2 | 2.8 | 0.45 | 0.5 | 0.9 | 1.4 | 0.77 | 1.15
Deep Freezer | 1 | 1.5 | 2.6 | 0.35 | 0.5 | 0.53 | 1.3 | 0.45 | 1.07
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Electric Oven | 1 | 10 | 2 | 0.15 | 0.1 | 1.5 | 0.2 | 1.27 | 0.16
Dishwasher | 1 | 3 | 0.8 | 0.2 | 0.08 | 0.6 | 0.06 | 0.51 | 0.05
Washing Machine | 1 | 2.5 | 0.3 | 0.25 | 0.1 | 0.62 | 0.03 | 0.53 | 0.02
Tumble Dryer | 1 | 7 | 1.5 | 0.15 | 0.05 | 1.05 | 0.07 | 0.89 | 0.06
Iron | 1 | 4 | 0.5 | 0.15 | 0.1 | 0.6 | 0.05 | 0.51 | 0.04
Geyser (Electric) | 1 | 10 | 2 | 0.2 | 0.1 | 2 | 0.2 | 1.7 | 0.16
AC 9000 BTU | 2 | 5 | 4.5 | 0.4 | 0.5 | 4 | 4.5 | 3.4 | 3.69
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
Pool Pump | 1 | 3 | 0.2 | 0.15 | 0.03 | 0.45 | 0.01 | 0.38 | 0
CCTV System | 1 | 0.3 | 1.6 | 1 | 1 | 0.3 | 1.6 | 0.26 | 1.31
Alarm System | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Garage Door Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Electric Fence | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
TOTALS (Zim Adjusted) | [5 empty] | 20.35 | 22.97 | 17.3 | 18.84
✅ Matches: PP-3 (12kVA, 28.6kWh), PP-6 (12kVA, 28.6kWh), PRO-2 (16kVA, 28.6kWh)
→ Budget: PP-3 (Premium Power 1 Perf) ¦ Good Fit: PP-6 (Premium Power 2 Perf) ¦ Excellent: PRO-2 (Pro Power 1.1)
S9: Large Commercial |  |  |  | Expected: MP-3
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
Lights Group (10-20) | 3 | 1 | 2 | 0.7 | 0.85 | 2.1 | 5.1 | 1.78 | 4.18
Security Lights (5-8) | 2 | 1 | 4.5 | 0.6 | 0.9 | 1.2 | 8.1 | 1.02 | 6.64
TV (Large) | 4 | 0.7 | 1 | 0.6 | 0.65 | 1.68 | 2.6 | 1.43 | 2.13
Home Theatre | 2 | 1 | 1 | 0.4 | 0.5 | 0.8 | 1 | 0.68 | 0.82
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
Fridge | 2 | 1.5 | 2.1 | 0.45 | 0.5 | 1.35 | 2.1 | 1.15 | 1.72
Deep Freezer | 2 | 1.5 | 2.6 | 0.35 | 0.5 | 1.05 | 2.6 | 0.89 | 2.13
Microwave | 1 | 4 | 0.25 | 0.18 | 0.2 | 0.72 | 0.05 | 0.61 | 0.04
Kettle | 1 | 5 | 0.15 | 0.1 | 0.1 | 0.5 | 0.01 | 0.42 | 0.01
Electric Oven | 1 | 10 | 2 | 0.15 | 0.1 | 1.5 | 0.2 | 1.27 | 0.16
Four-Plate Stove + Oven | 1 | 12 | 3 | 0.2 | 0.1 | 2.4 | 0.3 | 2.04 | 0.25
Dishwasher | 1 | 3 | 0.8 | 0.2 | 0.08 | 0.6 | 0.06 | 0.51 | 0.05
Washing Machine | 1 | 2.5 | 0.3 | 0.25 | 0.1 | 0.62 | 0.03 | 0.53 | 0.02
Tumble Dryer | 1 | 7 | 1.5 | 0.15 | 0.05 | 1.05 | 0.07 | 0.89 | 0.06
Iron | 1 | 4 | 0.5 | 0.15 | 0.1 | 0.6 | 0.05 | 0.51 | 0.04
Geyser (Electric) | 2 | 10 | 2 | 0.2 | 0.1 | 4 | 0.4 | 3.4 | 0.33
AC 18000 BTU | 2 | 8 | 8 | 0.4 | 0.5 | 6.4 | 8 | 5.44 | 6.56
Borehole Pump | 1 | 6 | 0.1 | 0.2 | 0.03 | 1.2 | 0 | 1.02 | 0
Pool Pump | 1 | 3 | 0.2 | 0.15 | 0.03 | 0.45 | 0.01 | 0.38 | 0
Booster Pump (Small) | 1 | 2.5 | 0.3 | 0.3 | 0.15 | 0.75 | 0.04 | 0.64 | 0.04
CCTV System | 1 | 0.3 | 1.6 | 1 | 1 | 0.3 | 1.6 | 0.26 | 1.31
Alarm System | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Gate Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Garage Door Motor | 1 | 3 | 0.05 | 0.08 | 0.08 | 0.24 | 0 | 0.2 | 0
Electric Fence | 1 | 0.2 | 1 | 1 | 1 | 0.2 | 1 | 0.17 | 0.82
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
Server / NAS | 1 | 1.5 | 8 | 1 | 1 | 1.5 | 8 | 1.27 | 6.56
TOTALS (Zim Adjusted) | [5 empty] | 31.82 | 42.87 | 27.05 | 35.15
✅ Matches: MP-3 (20kVA, 57.2kWh)
→ Budget: MP-3 (Master Power 1.3) ¦ Good Fit: MP-3 (Master Power 1.3)
S10: Tiny Cottage |  |  |  | Expected: HE-1
Appliance | Qty | PP | EP | Conc | Night | Eff PP | Eff EP | Zim PP | Zim EP
LED Light | 3 | 0.1 | 0.15 | 0.8 | 1 | 0.24 | 0.45 | 0.2 | 0.37
Phone Chargers | 1 | 0.1 | 0.2 | 0.7 | 0.6 | 0.07 | 0.12 | 0.06 | 0.1
WiFi Router | 1 | 0.1 | 0.4 | 1 | 1 | 0.1 | 0.4 | 0.09 | 0.33
TOTALS (Zim Adjusted) | [5 empty] | 0.41 | 0.97 | 0.35 | 0.8
✅ Matches: HE-1 (3kVA, 2.4kWh)
→ Budget: HE-1 (Home Economy) ¦ Good Fit: HE-1 (Home Economy)

## Zim Market Logic
ZIMBABWE MARKET ADJUSTMENT LOGIC
Two adjustment levers are applied to bring recommendations in line
with what Taqon and competitors actually install in Zimbabwe.
LEVER 1: Tightened Concurrency & Night Use (per-appliance)
Why: Zimbabwean solar households are load-disciplined.
They don't run kettle + microwave + iron simultaneously.
They use pumps during solar hours via smart ports or timers.
ZESA often returns at 10-11pm, supplementing battery overnight.
Key changes from engineering baseline:
Burst kitchen (kettle, microwave, toaster): concurrency -30 to -35%
Pumps (borehole, pool, booster): concurrency -25%, night_use near zero
Motors (gate, garage): concurrency -20% — 30sec bursts
Cold chain (fridge, freezer): night_use -15% — ZESA covers late night
Laundry (washing, dryer, iron): concurrency -20%, daytime use
TV/entertainment: night_use -15 to -20% — real viewing is 2-3hrs
Lighting: night_use -15% — people switch off unused rooms
LEVER 2: Global Market Factor
PP adjustment factor: 0.85 (applied after per-appliance calculation)
EP adjustment factor: 0.82 (applied after per-appliance calculation)
Final PP = Sum(appliance PP × concurrency × qty) × 0.85
Final EP = Sum(appliance EP × night_use × qty) × 0.82
Why: This reflects the combined effect of:
1. Grid support during extended outages (ZESA returns late evening)
2. Customer load management behavior (switching off non-essentials)
3. Commercial competitiveness (matching what market actually sells)
4. Inverter overload tolerance (most handle 110-120% for short periods)
TUNING THIS FACTOR:
More conservative (oversized): increase toward 0.95/0.90
More aggressive (competitive): decrease toward 0.75/0.70
Current setting optimized for Harare residential market
For commercial/industrial, consider using 0.90/0.88 (less ZESA reliance)
For rural off-grid, consider using 0.95/0.95 (no grid backup at all)

## API Update Values
Appliance Name | power_points | energy_points | concurrency_factor | night_use_factor | smart_load_eligible | typical_wattage
LED Light | 0.1 | 0.15 | 0.8 | 1 | FALSE | 10
Lights Group (5-10) | 0.5 | 1 | 0.7 | 0.85 | FALSE | 80
Lights Group (10-20) | 1 | 2 | 0.7 | 0.85 | FALSE | 160
Security Lights (2-4) | 0.5 | 2.5 | 0.6 | 0.9 | FALSE | 100
Security Lights (5-8) | 1 | 4.5 | 0.6 | 0.9 | FALSE | 200
TV (Small/Medium) | 0.5 | 0.7 | 0.6 | 0.65 | FALSE | 80
TV (Large) | 0.7 | 1 | 0.6 | 0.65 | FALSE | 120
Home Theatre | 1 | 1 | 0.4 | 0.5 | FALSE | 200
Decoder / DStv Box | 0.15 | 0.3 | 0.8 | 0.65 | FALSE | 30
Gaming Console | 1 | 0.7 | 0.5 | 0.55 | FALSE | 200
Projector | 1.5 | 0.8 | 0.3 | 0.45 | FALSE | 300
Sound Bar | 0.3 | 0.3 | 0.5 | 0.6 | FALSE | 50
WiFi Router | 0.1 | 0.4 | 1 | 1 | FALSE | 12
Internet Modem / Fibre | 0.1 | 0.3 | 1 | 1 | FALSE | 10
Laptop | 0.4 | 0.3 | 0.5 | 0.3 | FALSE | 65
Desktop Computer | 1.5 | 2.2 | 0.5 | 0.3 | FALSE | 300
Monitor Only | 0.3 | 0.2 | 0.6 | 0.4 | FALSE | 40
Phone Chargers | 0.1 | 0.2 | 0.7 | 0.6 | FALSE | 25
Tablet Charging | 0.1 | 0.15 | 0.5 | 0.7 | FALSE | 15
Fridge | 1.5 | 2.1 | 0.45 | 0.5 | FALSE | 150
Large Fridge | 2 | 2.8 | 0.45 | 0.5 | FALSE | 200
Deep Freezer | 1.5 | 2.6 | 0.35 | 0.5 | FALSE | 200
Under-counter Fridge | 0.8 | 1.4 | 0.5 | 0.5 | FALSE | 100
Bar Fridge | 0.6 | 1.2 | 0.5 | 0.5 | FALSE | 80
Ice Maker | 1 | 1 | 0.4 | 0.3 | FALSE | 200
Microwave | 4 | 0.25 | 0.18 | 0.2 | FALSE | 1200
Kettle | 5 | 0.15 | 0.1 | 0.1 | FALSE | 2000
Toaster | 2.5 | 0.1 | 0.1 | 0.05 | FALSE | 800
Electric Frying Pan | 4 | 0.5 | 0.15 | 0.15 | FALSE | 1500
Blender | 1.5 | 0.1 | 0.1 | 0.05 | FALSE | 500
Coffee Machine | 2.5 | 0.2 | 0.15 | 0.05 | FALSE | 1000
Air Fryer | 4 | 0.5 | 0.15 | 0.15 | FALSE | 1500
Rice Cooker | 1.5 | 0.3 | 0.3 | 0.3 | FALSE | 500
Slow Cooker | 1 | 0.8 | 0.3 | 0.4 | FALSE | 200
Sandwich Maker | 1.5 | 0.1 | 0.1 | 0.05 | FALSE | 700
Water Dispenser | 0.5 | 0.4 | 0.4 | 0.4 | FALSE | 100
Electric Stove Plate | 8 | 1.5 | 0.2 | 0.1 | FALSE | 2000
Electric Oven | 10 | 2 | 0.15 | 0.1 | FALSE | 3000
Four-Plate Stove + Oven | 12 | 3 | 0.2 | 0.1 | FALSE | 5000
Cooker Hood | 0.3 | 0.1 | 0.3 | 0.2 | FALSE | 50
Dishwasher | 3 | 0.8 | 0.2 | 0.08 | TRUE | 1800
Washing Machine | 2.5 | 0.3 | 0.25 | 0.1 | TRUE | 500
Tumble Dryer | 7 | 1.5 | 0.15 | 0.05 | TRUE | 3000
Iron | 4 | 0.5 | 0.15 | 0.1 | FALSE | 2000
Hair Dryer | 4 | 0.2 | 0.1 | 0.05 | FALSE | 1800
Borehole Pump | 6 | 0.1 | 0.2 | 0.03 | TRUE | 1500
Booster Pump (Small) | 2.5 | 0.3 | 0.3 | 0.15 | TRUE | 750
Booster Pump (Large) | 3.5 | 0.4 | 0.3 | 0.15 | TRUE | 1000
Pressure Pump | 3 | 0.3 | 0.3 | 0.15 | TRUE | 750
Pool Pump | 3 | 0.2 | 0.15 | 0.03 | TRUE | 1100
Garden Irrigation | 0.5 | 0.1 | 0.2 | 0.05 | TRUE | 50
Fountain Pump | 0.5 | 0.3 | 0.4 | 0.3 | TRUE | 100
Filtration System | 2 | 0.3 | 0.2 | 0.1 | TRUE | 500
Water Purifier | 0.3 | 0.2 | 0.3 | 0.2 | FALSE | 50
AC 9000 BTU | 5 | 4.5 | 0.4 | 0.5 | TRUE | 900
AC 12000 BTU | 6 | 5.5 | 0.4 | 0.5 | TRUE | 1200
AC 18000 BTU | 8 | 8 | 0.4 | 0.5 | TRUE | 1800
Ceiling Fan | 0.4 | 0.7 | 0.7 | 0.6 | FALSE | 75
Pedestal Fan | 0.3 | 0.6 | 0.7 | 0.6 | FALSE | 55
Exhaust Fan | 0.3 | 0.2 | 0.4 | 0.3 | FALSE | 40
Electric Heater | 7 | 10 | 0.3 | 0.65 | FALSE | 2000
Oil Heater | 5 | 8 | 0.4 | 0.8 | FALSE | 1500
Electric Blanket | 0.5 | 0.8 | 0.6 | 0.8 | FALSE | 100
Evaporative Cooler | 1 | 1.5 | 0.5 | 0.5 | FALSE | 200
Geyser (Electric) | 10 | 2 | 0.2 | 0.1 | TRUE | 3000
Solar Geyser Booster | 0.5 | 0.2 | 0.6 | 0.4 | FALSE | 100
CCTV System | 0.3 | 1.6 | 1 | 1 | FALSE | 50
Alarm System | 0.2 | 1 | 1 | 1 | FALSE | 30
Gate Motor | 3 | 0.05 | 0.08 | 0.08 | FALSE | 500
Garage Door Motor | 3 | 0.05 | 0.08 | 0.08 | FALSE | 500
Electric Fence | 0.2 | 1 | 1 | 1 | FALSE | 30
Intercom System | 0.1 | 0.15 | 0.5 | 0.4 | FALSE | 15
Printer (Small) | 1 | 0.1 | 0.2 | 0.1 | FALSE | 300
Printer (Large) | 2 | 0.15 | 0.15 | 0.1 | FALSE | 600
Photocopier | 3 | 0.2 | 0.15 | 0.1 | FALSE | 1500
Server / NAS | 1.5 | 8 | 1 | 1 | FALSE | 300
NAS Storage (Small) | 0.5 | 2.5 | 1 | 1 | FALSE | 80
POS System | 0.5 | 0.8 | 0.8 | 0.5 | FALSE | 100
Shop Display Fridge | 1.5 | 2 | 0.6 | 0.6 | FALSE | 200
Sewing Machine | 0.5 | 0.2 | 0.3 | 0.2 | FALSE | 100
Workshop Tools (Small) | 2 | 0.2 | 0.2 | 0.1 | FALSE | 800
Angle Grinder | 4 | 0.15 | 0.15 | 0.05 | FALSE | 2000
Drill | 1.5 | 0.1 | 0.15 | 0.05 | FALSE | 600
Compressor (Small) | 3.5 | 0.3 | 0.15 | 0.05 | FALSE | 1500
Welder (Small Inverter) | 10 | 0.3 | 0.1 | 0.05 | FALSE | 5000
CPAP Machine | 0.3 | 1.3 | 1 | 1 | FALSE | 40
Nebulizer | 0.5 | 0.1 | 0.2 | 0.2 | FALSE | 100
Medical Fridge | 1 | 2 | 1 | 1 | FALSE | 60
Baby Bottle Warmer | 0.5 | 0.15 | 0.3 | 0.4 | FALSE | 200
Aquarium Pump | 0.2 | 0.8 | 1 | 1 | FALSE | 25
Aquarium Heater | 0.5 | 1 | 0.6 | 0.8 | FALSE | 100
Router + CCTV Combo | 0.4 | 2 | 1 | 1 | FALSE | 60
Outdoor Decorative Lights | 0.3 | 0.8 | 0.4 | 1 | TRUE | 50